## Bidders 1 - 4
FY23 Water Service Replacement- Bid Form
ITEM | DESCRIPTION | QUANTITY |  | UNIT PRICE | TOTAL
1 | MOBILIZATION
A | "TYPE A" MOBILIZATION | 1 | LS |  | 0
B | "TYPE B" MOBILIZATION | 50 | EA |  | 0
2 | INSTALLATION OF WATER SERVICE
A | FURNISH AND INSTALL TAPPING SADDLE AND CORPORATION
a | 16" X 3/4" | 4 | EA |  | 0
b | 12" X 3/4" | 4 | EA |  | 0
c | 8" X 3/4" | 10 | EA |  | 0
d | 6" X 3/4" | 120 | EA |  | 0
e | 2" X 3/4" | 90 | EA |  | 0
f | 16" X 1" | 1 | EA |  | 0
g | 12" X 1" | 1 | EA |  | 0
h | 8" X 1" | 2 | EA |  | 0
i | 6" X 1" | 2 | EA |  | 0
j | 2" X 1" | 2 | EA |  | 0
B | FOR COPPER TUBING (TYPE K ) - OPEN CUT METHOD
a | 3/4-INCH TUBING | 5000 | LF |  | 0
b | 1-INCH TUBING | 75 | LF |  | 0
C | FOR COPPER TUBING (TYPE K) - BY PUNCH METHOD
a | 3/4-INCH TUBING | 3000 | LF |  | 0
b | 1-INCH TUBING | 200 | LF |  | 0
D | 3/4-INCH ANGLE VALVE | 400 | EA |  | 0
E | 1-INCH ANGLE VALVE | 12 | EA |  | 0
F | 3/4-INCH WATER METER ASSEMBLY (METER BOX, YOKE, TAIL PIECE, CONNECTION TO PRIVATE LINE) | 400 | EA |  | 0
G | 1-INCH WATER METER ASSEMBLY (METER BOX, YOKE, TAIL PIECE, CONNECTION TO PRIVATE LINE) | 8 | EA |  | 0
H | FOR THE ADDITIONAL COST OF REPLACING A CORRODED, LEAKING OR DAMAGED TAPPING SADDLE AND CORPORATION STOP (Will be in addition to Item (2) (A) above). | 8 | EA |  | 0
I | FOR THE ADDITIONAL COST OF REPLACING A CORRODED, LEAKING OR DAMAGED CORPORATION STOP (Will be in addition to Item (2) (A) above). | 4 | EA |  | 0
3 | FITTINGS | 1000 | LBS |  | 0
4 | WATER SERVICE INSTALLATION OUTSIDE OF STREET ROW
A | 3/4-INCH PEX PIPE OPEN CUT | 1000 | LF |  | 0
B | 3/4-INCH PEX PIPE BORE/PUNCH UNDER SIDEWALK/DRIVEWAY | 400 | LF |  | 0
C | 1-INCH PEX PIPE OPEN CUT | 500 | LF |  | 0
D | 1-INCH PEX PIPE BORE/PUNCH UNDER SIDEWALK/DRIVEWAY | 200 | LF |  | 0
E | ADDITIONAL 3/4-INCH COPPER FOR ITEMS 4A AND 4B | 300 | LF |  | 0
F | ADDITIONAL 1-INCH COPPER FOR ITEMS 4C AND 4D | 100 | LF |  | 0
5 | FOR FURNISHING AND INSTALLING 8-INCH POLYVINYL CHLORIDE PIPE (DR 14) OR DUCTILE IRON PIPE (PRESSURE CLASS 350) WITH PUSH-ON JOINTS, OR HIGH DENSITY POLYETHYLENE PIPE (DR 9) , AS SPECIFIED, COMPLETE IN PLACE.
A | 0-4 FEET OF COVER | 200 | LF |  | 0
B | 4-6 FEET OF COVER | 75 | LF |  | 0
C | 6-8 FEET OF COVER | 50 | LF |  | 0
D | 8 FEET AND DEEPER | 25 | LF |  | 0
6 | FOR FURNISHING AND INSTALLING 6-INCH POLYVINYL CHLORIDE PIPE (DR 14) OR DUCTILE IRON PIPE (PRESSURE CLASS 350) , WITH PUSH-ON JOINTS, OR HIGH DENSITY POLYETHYLENE PIPE (DR 9), AS SPECIFIED, COMPLETE IN PLACE.
A | 0-4 FEET OF COVER | 300 | LF |  | 0
B | 4-6 FEET OF COVER | 200 | LF |  | 0
C | 6-8 FEET OF COVER | 100 | LF |  | 0
D | 8 FEET AND DEEPER | 50 | LF |  | 0
7 | FOR FURNISHING AND INSTALLING 2-INCH POLYVINYL CHLORIDE PIPE (DR 14 OR LESS), WITH PUSH-ON JOINTS, OR HIGH DENSITY POLYETHYLENE PIPE (DR 9), AS SPECIFIED, COMPLETE IN PLACE.
A | 0-4 FEET OF COVER | 500 | LF |  | 0
B | 4-6 FEET OF COVER | 400 | LF |  | 0
C | 6-8 FEET OF COVER | 150 | LF |  | 0
D | 8 FEET AND DEEPER | 50 | LF |  | 0
8 | FOR SUBSTITUTING RESTRAINED JOINT DUCTILE IRON PIPE, AS SPECIFIED, COMPLETE IN PLACE (ADD ON TO ITEMS 5 AND 6)
A | 8-INCH DUCTILE IRON PIPE (PRESSURE CLASS 350) | 100 | LF |  | 0
B | 6-INCH DUCTILE IRON PIPE (PRESSURE CLASS 350) | 250 | LF |  | 0
9 | SUBSTITUTING 2-INCH RED BRASS PIPE OR 3-INCH DUCTILE IRON PIPE, COMPLETE WITH ADAPTOR COUPLINGS, AS SPECIFIED, COMPLETE IN PLACE (ADD ON TO ITEM 7) | 300 | LF |  | 0
10 | FOR FURNISHING AND INSTALLING MAIN LINE GATE VALVES, AS SPECIFIED, COMPLETE IN PLACE
A | 8" GATE VALVES | 3 | EA |  | 0
B | 6" GATE VALVES | 4 | EA |  | 0
C | 2" GATE VALVES | 5 | EA |  | 0
11 | FIRE HYDRANTS
A | WITH TEES ON 8" PIPE | 2 | EA |  | 0
B | WITH TEES ON 6" PIPE | 3 | EA |  | 0
C | 6-INCH DUCTILE IRON PIPE (PRESSURE CLASS 350 RESTRAINED JOINT) | 30 | LF |  | 0
D | 6-INCH 900 RESTRAINED JOINT BEND | 3 | EA |  | 0
12 | FIRE HYDRANT REMOVAL | 3 | EA |  | 0
13 | FOR FURNISHING PERMANENT 2-INCH BLOW-OFFS (STANDARD DETAIL NN), AS SPECIFIED, COMPLETE IN PLACE
A | ON 8" PIPE | 2 | EA |  | 0
B | ON 6" PIPE | 2 | EA |  | 0
C | ON 2" PIPE | 10 | EA |  | 0
14 | FOR FURNISHING PERMANENT 2-INCH BLOW-OFFS (STANDARD DETAIL DD), AS SPECIFIED, COMPLETE IN PLACE
A | ON 8" PIPE | 2 | EA |  | 0
B | ON 6" PIPE | 2 | EA |  | 0
15 | FOR REMOVING AND REPLACING BLOW-OFFS
A | ON 8" PIPE | 3 | EA |  | 0
B | ON 6" PIPE | 5 | EA |  | 0
C | ON 2" PIPE | 10 | EA |  | 0
16 | FOR FURNISHING AND INSTALLING TAPPING SLEEVE AND VALVE
A | 16"x8" | 1 | EA |  | 0
B | 16"x6" | 1 | EA |  | 0
C | 12"x8" | 1 | EA |  | 0
D | 12"x6" | 1 | EA |  | 0
E | 8"x8" | 2 | EA |  | 0
F | 8"x6" | 2 | EA |  | 0
G | 6"x6" | 2 | EA |  | 0
17 | FOR FURNISHING AND INSTALLING TAPPING SADDLE AND CORPORATION
A | 12"x2" | 2 | EA |  | 0
B | 8"x2" | 3 | EA |  | 0
C | 6"x2" | 3 | EA |  | 0
18 | FOR CONNECTIONS TO EXISTING WATER MAIN AT RP JUMPER LOCATIONS, AS SPECIFIED, COMPLETE IN PLACE
A | FOR FURNISHING, USING, AND REMOVING A 2-INCH DIAMETER REDUCED PRESSURE (RP) PRINCIPLE BACKFLOW PREVENTER JUMPER PER STANDARD DETAIL G | 10 | EA |  | 0
B | FOR REMOVING/REPLACING THE RP JUMPER DAILY DUE TO LOCATION AND/OR RESTRICTIONS IMPOSED BY NCDOT OR THE ENGINEER (ADD TO ITEM A ABOVE). | 1 | EA |  | 0
C | FOR COMPLETING A CONNECTION TO AN EXISTING MAIN (INCLUDING LONG PATTERN SOLID SLEEVE)
a | 8-INCH DIAMETER | 1 | EA |  | 0
b | 6-INCH DIAMETER | 5 | EA |  | 0
c | 2-INCH DIAMETER | 5 | EA |  | 0
19 | FOR CONNECTIONS TO EXISTING WATER MAIN AT NON-RP JUMPER LOCATIONS (INCLUDING LONG PATTERN SOLID SLEEVE), AS SPECIFIED, COMPLETE IN PLACE
A | 8-INCH DIAMETER | 1 | EA |  | 0
B | 6-INCH DIAMETER | 2 | EA |  | 0
C | 2-INCH DIAMETER | 7 | EA |  | 0
20 | CONCRETE BLOCKING | 200 | CF |  | 0
21 | LOCATE AND ADJUST EXISTING WATER VALVE BOXES | 15 | EA |  | 0
22 | REMOVE AND REPLACE A DAMAGED METER BOX | 20 | EA |  | 0
23 | REMOVE AND REPLACE PRESSURE REDUCING VALVE | 5 | EA |  | 0
24 | DISMANTLE EXISTING WATER SERVICE
A | DISMANTLE EXISTING WATER SERVICE (3/4-inch or 1-inch) | 500 | EA |  | 0
B | FOR THE ADDITIONAL COST OF REPLACING A LEAKING OR BROKEN CORPORATION STOP WITH A BRASS PLUG INSTALLED DIRECTLY IN THE PIPE OR SADDLE. | 2 | EA |  | 0
C | FOR THE ADDITIONAL COST OF REMOVING A CORRODED OR LEAKING SADDLE AND INSTALLING A STAINLESS STEEL REPAIR COUPLING, OR A NEW SADDLE AND BRASS PLUG. | 1 | EA |  | 0
25 | EXISTING WATER MAIN ABANDONMENT
A | CUT AND PLUG (WATERTIGHT) EXISTING WATER MAINS
a | 12-INCH MAIN | 1 | EA |  | 0
b | 8-INCH MAIN | 1 | EA |  | 0
c | 6-INCH MAIN | 1 | EA |  | 0
d | 4-INCH MAIN (OR SMALLER) | 35 | EA |  | 0
B | REMOVING EXISTING FITTINGS AND SLEEVE CONNECTION
a | 12-INCH MAIN | 1 | EA |  | 0
b | 8-INCH MAIN | 1 | EA |  | 0
c | 6-INCH MAIN | 1 | EA |  | 0
d | 4-INCH MAIN (OR SMALLER) | 10 | EA |  | 0
26 | EXISTING MAINLINE WATER VALVE ABANDONMENT | 10 | EA |  | 0
27 | SOLID ROCK EXCAVATION
A | FOR THE FIRST 25 CY PER WORK ORDER | 25 | CY |  | 0
B | FOR ADDITIONAL ROCK EXCAVATION AFTER THE INITIAL 25 CY PER WORK ORDER | 50 | CY |  | 0
28 | CUT (SAW), MILL, REMOVE AND REPLACE ASPHALT PAVEMENT
A | CUT (SAW) ASPHALT PAVEMENT | 5000 | LF |  | 0
B | REMOVE AND DISPOSE OF ASPHALTPAVEMENT (per 1-inch depth) | 5000 | SY |  | 0
C | REPLACE ASPHALT PAVEMENT
a | PER 1-INCH DEPTH SURFACE COURSE | 2000 | SY |  | 0
b | PER 1-INCH DEPTH INTERMEDIATE COURSE | 2000 | SY |  | 0
c | PER 1-INCH DEPTH BASE COURSE | 5000 | SY |  | 0
d | PER SY WHEN LESS THAN 3 SY in addition to (a) above | 200 | SY |  | 0
D | REPLACE ABC STONE BASE (per 1-inch depth) | 3000 | SY |  | 0
E | FOR REMOVING AND REPLACING ROLL TYPE FULL DEPTH COMPACTED ASPHALT CURBING (hand placed or by machine - contractor's option) | 500 | LF |  | 0
F | MILLING EXISTING ASPHALT
a | MOBILIZATION OF MILLING MACHINE | 4 | EA |  | 0
b | MILLING TO A DEPTH OF 1.5-INCHES | 1500 | SY |  | 0
29 | CONCRETE DRIVEWAYS AND WALKWAYS
A | CUT (SAW) CONCRETE | 500 | LF |  | 0
B | REMOVE & DISPOSE OF CONCRETE
a | 0"-4"DEPTH | 100 | SY |  | 0
b | 4"-8" DEPTH | 100 | SY |  | 0
c | FOR EACH ADDITIONAL 2-INCH DEPTH OF REMOVAL AND DISPOSAL OF CONCRETE (Will be in addition to Item (b) Above) | 100 | SY |  | 0
C | FOR REPLACING CONCRETE
a | 4" DEPTH | 80 | SY |  | 0
b | 6"DEPTH | 200 | SY |  | 0
c | FOR EACH ADDITIONAL 2-INCH DEPTH OF CONCRETE REPLACEMENT (Will be in addition to Item (b) Above) | 40 | SY |  | 0
30 | CONCRETE CURB AND GUTTER | 100 | LF |  | 0
31 | SELECT BACKFILL MATERIAL
a | GENERAL CLEAN FILL (no organics) | 100 | CY |  | 0
b | PIT GRAVEL OR ABC STONE | 250 | CY |  | 0
32 | FERTILIZING, SEEDING AND MULCHING | 6000 | SY |  | 0
33 | SOD REPLACEMENT | 50 | SY |  | 0
34 | EXPLORATORY DIGGING | 120 | HR |  | 0
35 | EROSION CONTROL DEVICES
A | SILT FENCE | 100 | LF |  | 0
B | STONE SILT CHECK DAM | 10 | EA |  | 0
C | TEMPORARY INLET PROTECTION | 5 | EA |  | 0
D | EROSION CONTROL BLANKET/JUTE NETTING | 200 | SY |  | 0
36 | STONE OR PIT GRAVEL/ DRIVE/ ROAD/SHOULDER REPLACEMENT | 400 | SY |  | 0
37 | LOCATE EXISTING UNDERGROUND UTILITIES
A | LOCATING GAS MAINS | 25 | EA |  | 0
B | LOCATING PHONE (FIBER OPTICS) CABLES | 10 | EA |  | 0
C | LOCATING PHONE (NON-FIBER OPTICS) CABLES | 10 | EA |  | 0
D | LOCATING POWER CABLES | 10 | EA |  | 0
E | LOCATING CABLE TV CABLES | 10 | EA |  | 0
F | LOCATING STORM PIPES | 10 | EA |  | 0
G | LOCATING WATER MAINS | 10 | EA |  | 0
H | LOCATING SEWER MAINS | 5 | EA |  | 0
38 | RELOCATE EXISTING UNDERGROUND UTILITIES
A | RELOCATING PHONE (FIBER OPTICS) CABLES | 50 | LF |  | 0
B | RELOCATING PHONE (NON-FIBER OPTICS) CABLES | 50 | LF |  | 0
C | RELOCATING POWER CABLES | 50 | LF |  | 0
D | RELOCATING CABLE TV CABLES | 50 | LF |  | 0
E | RELOCATING PLASTIC NATURAL GAS MAINS | 50 | LF |  | 0
39 | MAINTAINING TRAFFIC
A | FOR TWO (2) FULL TIME FLAGGERS WITH PADDLE SIGNS | 30 | DAYS |  | 0
B | FOR REFLECTIVE TRAFFIC CONTROL SIGNS (REGARDLESS OF SIZE) | 20 | EA |  | 0
C | FOR REFLECTIVE 28-INCH TALL TRAFFIC CONES | 50 | EA |  | 0
D | FOR REFLECTIVE 36-INCH TALL, 18-INCH DIAMETER NON-METALLIC DRUMS | 10 | EA |  | 0
E | FOR REFLECTIVE 36-INCH TALL, 18-INCH DIAMETER NON-METALLIC DRUMS WITH FLASHING WARNING LIGHTS | 10 | EA |  | 0
F | FOR REFLECTIVE 8-FEET WIDE TYPE III BARRICADES | 2 | EA |  | 0
G | FOR CONCRETE BARRIERS (BORE PITS) | 100 | LF |  | 0
H | FOR TYPE B (30"X 60") FLASHING ARROW PANEL / MESSAGE BOARD | 13 | DAYS |  | 0
I | FOR TRUCK MOUNTED IMPACT ATTENUATOR | 1 | EA |  | 0
J | OFF DUTY POLICE OFFICER | 40 | HR |  | 0
40 | PAVEMENT MARKING LINES AND SYMBOLS
A | 4-INCH SOLID WHITE (OR YELLOW) LINE (PAINT) | 50 | LF |  | 0
B | 4-INCH WHITE (OR YELLOW) SKIP LINE (PAINT) | 50 | LF |  | 0
C | 4-INCH SOLID DOUBLE YELLOW LINE (PAINT) | 50 | LF |  | 0
D | 8-INCH SOLID WHITE LINE (PAINT) | 50 | LF |  | 0
E | LEFT TURN/RIGHT TURN/STRAIGHT ARROW SYMBOL | 1 | EA |  | 0
41 | RESTRICTED WORK HOURS (9:00 AM TO 4:00 PM) | 40 | HR |  | 0
42 | RESTRICTED WORK HOURS (NIGHTS AND/OR WEEKENDS) | 40 | HR |  | 0
43 | EMERGENCY RESPONSE MOBILIZATION | 5 | EA |  | 0
| SUBTOTAL |  |  |  | 0
44 | CONTINGENCY ALLOWANCE (10% OF SUB-TOTAL) |  |  |  | 0
| TOTAL |  |  |  | 0
Note on C5: THIS COLUMN IS BASED ON THE BID PROPOSAL QUANTITIES. PLEASE DO NOT EDIT.