## BID FORM
ELCTRONIC BID DATA FORM
Scope 1 - Vest WTP to Franklin WTP Force Main - Unit Prices
Bid Item |  | Description | Quantity | Unit | Unit Price | Bid Price
MOBILIZATION
1.1 |  | FOR MOBILIZATION TO THE PROJECT SITE, AS SPECIFIED (THIS ITEM IS LIMITED TO 3% OF THE TOTAL OF ALL UNIT PRICE BID ITEMS FOR VEST WTP TO FRANKLIN WTP FORCE MAIN) | 1 | LS |  | 0
RESTRAINED JOINT PIPE - LABOR ONLY
1.2 |  | RESTRAINED JOINT DUCTILE IRON PIPE, AS SPECIFIED, COMPLETE IN PLACE
| A | 16-INCH DUCTILE IRON PIPE (PRESSURE CLASS 250) | 10930 | LF |  | 0
RESTRAINED JOINT PIPE
1.3 |  | FOR ADDING RESTRAINED JOINT (MEGALUG OR APPROVED EQUAL) TO DUCTILE IRON PIPE, AS SPECIFIED, COMPLETE IN PLACE | 25 | EA |  | 0
16" DIP CLASS 250 - LABOR ONLY
1.4 |  | FOR INSTALLING 16-INCH DUCTILE IRON PIPE (PRESSURE CLASS 250), WITH PUSH ON (NON-RESTRAINED) JOINTS, AS SPECIFIED, COMPLETE IN PLACE | 5260 | LF |  | 0
FURNISH AND INSTALL PIPE
1.5 |  | FOR FURNISHING AND INSTALLING PUSH-ON (NON-RESTRAINED) JOINT PIPE, AS SPECIFIED, COMPLETE IN PLACE
| A | FOR FURNISHING AND INSTALLING 6-INCH POLYVINYL CHLORIDE PIPE C900 DR 18, WITH PUSH-ON (NON-RESTRAINED) JOINTS, AS SPECIFIED, COMPLETE IN PLACE | 640 | LF |  | 0
| B | FOR FURNISHING AND INSTALLING 6-INCH DUCTILE IRON PIPE (PRESSURE CLASS 350) WITH PUSH-ON (NON-RESTRAINED) JOINTS, AS SPECIFIED, COMPLETE IN PLACE | 36 | LF |  | 0
| C | FOR FURNISHING AND INSTALLING 16-INCH POLYVINYL CHLORIDE PIPE C900 DR 18, WITH PUSH-ON (NON-RESTRAINED) JOINTS, AS SPECIFIED, COMPLETE IN PLACE | 20 | LF |  | 0
| D | FOR FURNISHING AND INSTALLING 16-INCH DUCTILE IRON PIPE (PRESSURE CLASS 250) WITH PUSH-ON (NON-RESTRAINED) JOINTS, AS SPECIFIED, COMPLETE IN PLACE | 300 | LF |  | 0
DIP FITTINGS – LABOR ONLY
1.6 |  | FOR INSTALLING DIP FITTINGS AS SPECIFIED, COMPLETE IN PLACE
| A | 90 DEGREE FITTING | 5 | EA |  | 0
| B | 45 DEGREE FITTING | 47 | EA |  | 0
| C | 22.5 DEGREE FITTING | 21 | EA |  | 0
| D | 11.25 DEGREE FITTING | 22 | EA |  | 0
| E | 16X16 TEE | 1 | EA |  | 0
| F | 16X6 TEE | 3 | EA |  | 0
FURNISH AND INSTALL DIP FITTINGS
1.7 |  | FOR FURNISHING AND INSTALLING DIP FITTINGS AS SPECIFIED, COMPLETE IN PLACE | 5000 | LBS |  | 0
JACK & BORE CROSSINGS
1.8 |  | FOR FURNISHING AND INSTALLING (DRY-BORE) STEEL ENCASEMENT, AS SPECIFIED, COMPLETE IN PLACE
| A | 48-INCH DIAMETER CASING (t=0.500") ACROSS NCDOT I-85 | 330 | LF |  | 0
| B | 48-INCH DIAMETER CASING (t=0.750") ACROSS CSX RAILROAD | 117 | LF |  | 0
| C | 30-INCH DIAMETER CASING (t=0.500") ACROSS BOX CULVERT | 25 | LF |  | 0
AERIAL PIPE INSTALLATION
1.9 |  | FOR INSTALLING 16-INCH RJDIP AND FURNISHING AND INSTALLING BRACING ACROSS STEWARTS CREEK, AS SPECIFIED | 194 | LF |  | 0
TEMPORARY/PERMANENT STREAM CROSSINGS
1.1 |  | FOR CROSSING STREAMS, AS SPECIFIED ON PLANS
| A | TEMPORARY STREAM CROSSING | 2 | EA |  | 0
| B | PERMANENT STREAM CROSSING | 1 | EA |  | 0
ABANDONMENT OF EXISITING MAINS
1.11 |  | FOR ABANDONMENT OF EXISTING WATER MAINS, AS SPECIFIED ON PLANS AND AS DIRECTED BY THE ENGINEER
| A | CUT, FILL WITH GROUT, AND PLUG (WATERTIGHT) EXISTING 2-INCH WATER MAIN | 640 | LF |  | 0
| B | CUT, REMOVE, AND DISPOSE EXISTING 1-INCH WATER MAIN | 315 | LF |  | 0
CONNECTION TO EXISTING MAINS
1.12 |  | FOR CONNECTION OF PROPOSED MAINS TO EXISTING MAINS, AS SPECIFIED ON PLANS AND AS DIRECTED BY THE ENGINEER
| A | 16-INCH MAIN TO 14-INCH MAIN | 1 | EA |  | 0
| B | 6-INCH MAIN TO 6-INCH MAIN | 2 | EA |  | 0
GATE VALVE
1.13 |  | FOR FURNISHING AND INSTALLING MAIN LINE GATE VALVES, AS SPECIFIED, COMPLETE IN PLACE
| A | 6-INCH GATE VALVES | 3 | EA |  | 0
PLUG VALVE - LABOR ONLY
1.14 |  | FOR INSTALLING MAIN LINE PLUG VALVES, AS SPECIFIED, COMPLETE IN PLACE
| A | 16-INCH PLUG VALVES | 4 | EA |  | 0
AIR RELEASE VALVES
1.15 |  | FOR FURNISHING AND INSTALLING AIR RELEASE VALVES AS SPECIFIED AND AS DIRECTED BY THE ENGINEER, COMPLETE IN PLACE
| A | ON 16-INCH PIPE - 3" COMBINATION AIR RELEASE AND VACUUM VALVES | 10 | EA |  | 0
| B | MANUAL ARV ON 16-INCH PIPE - 3" AIR RELEASE | 2 | EA |  | 0
EXPLORATORY DIGGING
1.16 |  | EXPLORATORY DIGGING, AS SPECIFIED
| A | BOTH SIDES OF METER BOX | 100 | EA |  | 0
| B | PUBLIC SIDE OF METER BOX ONLY | 50 | EA |  | 0
WATER SERVICES
1.17 |  | FOR FURNISHING AND INSTALLING WATER SERVICES, AS SPECIFIED, COPPER TUBING (TYPE K) - OPEN CUT METHOD, COMPLETE IN PLACE
| A | 3/4-INCH TUBING - SAME SIDE OF STREET (SHORT SIDE) | 55 | EA |  | 0
| B | 1-INCH TUBING - SAME SIDE OF STREET (SHORT SIDE) | 5 | EA |  | 0
| C | 3/4-INCH TUBING - OPPOSITE SIDE OF STREET (LONG SIDE) | 45 | EA |  | 0
| D | 1-INCH TUBING - OPPOSITE SIDE OF STREET (LONG SIDE) | 5 | EA |  | 0
1.18 |  | FOR CHANGEOVER OF EXISTING WATER SERVICES FROM ABANDONED/REMOVED WATER MAINS TO 6-INCH MAIN. FURNISHING AND INSTALLING WATER SERVICES, AS SPECIFIED, COPPER TUBING (TYPE K ) - OPEN CUT METHOD, COMPLETE IN PLACE
| A | 3/4-INCH TUBING - SAME SIDE OF STREET (SHORT SIDE) | 5 | EA |  | 0
| B | 3/4-INCH TUBING - OPPOSITE SIDE OF STREET (LONG SIDE) | 6 | EA |  | 0
MANHOLES
1.19 |  | FOR BASIC MANHOLES, 0-6 FOOT DEPTHS, AS SPECIFIED, BACKFILLED COMPLETE IN PLACE, WITH GROUTED ON FRAME AND COVER
| A | FOR 4-FOOT DIAMETER MANHOLES | 4 | EA |  | 0
| B | FOR ADDITIONAL VERTICAL FOOT OF MANHOLE DEPTH | 15 | VF |  | 0
1.2 |  | FOR CONNECTIONS AT MANHOLES, AS SPECIFIED, COMPLETE IN PLACE
| A | FOR FITTINGS ADDED TO EXISTING MANHOLE FOR DROP MANHOLE | 2 | EA |  | 0
| B | CONNECT TO EXISTING MANHOLES WITH 6-INCH PIPE | 2 | EA |  | 0
FENCE AND/OR GATE REMOVAL AND RESETTING (OR REPLACEMENT)
1.21 |  | FOR THE REMOVAL AND RESETTING (OR REPLACEMENT) OF FENCES OR GATES, AS SPECIFIED, IN PLACE
| A | FOR THE REMOVAL, STORAGE, AND RESETTING OF A PERMANENT FENCE | 100 | LF |  | 0
| B | FOR THE FURNISHING AND INSTALLATION OF A PERMANENT GATE | 2 | EA |  | 0
CUTTING AND REPLACING EXISTING ASPHALT, CONCRETE CURB AND GUTTER
1.22 |  | ASPHALT CUTTING AND REPLACEMENT, FULL SECTION WITHIN | 6570 | SY |  | 0
1.23 |  | CONCRETE CURB AND GUTTER REMOVAL AND REPLACEMENT | 610 | LF |  | 0
EROSION CONTROL
1.24 |  | FOR CONSTRUCTING, MAINTAINING, AND REMOVING VARIOUS EROSION CONTROL DEVICES, AS SPECIFIED
| A | TEMPORARY CONSTRUCTION ENTRANCE | 7 | EA |  | 0
| B | SILT FENCE | 9875 | LF |  | 0
| C | STONE SILT CHECK DAM OR WATTLE | 5 | EA |  | 0
| D | TEMPORARY INLET PROTECTION | 60 | EA |  | 0
CLEANUP, SEEDING, AND SODDING
1.25 |  | FOR CLEANUP, SEEDING, AND SODDING AREAS, AS SHOWN ON THE PLANS, OR AS DIRECTED BY THE ENGINEER, COMPLETE AS SPECIFIED, (THIS ITEM MUST BE AT LEAST 1% OF THE Total of All Unit Price Bid Items for Vest WTP to Franklin WTP Force Main)
| A | FOR CLEANUP, FERTILIZING, SEEDING AND MULCHING, AS SPECIFIED, COMPLETE IN PLACE | 16300 | LF |  | 0
CLEARING AND GRUBBING
1.26 |  | CLEARING AND GRUBBING RIGHT-OF-WAY AND/OR EASEMENTS WITHIN WOODED AREAS | 1 | AC |  | 0
ROCK EXCAVATION
1.27 |  | FOR SOLID ROCK EXCAVATION, AS SPECIFIED
| A | FOR THE FIRST 100 CY ROCK EXCAVATION PER PROJECT | 100 | CY |  | 0
| B | FOR ADDITIONAL ROCK EXCAVATION AFTER THE INITIAL 100 CY PER PROJECT | 20 | CY |  | 0
STONE STABILIZATION AND/OR SELECT FILL
1.28 |  | FOR STONE STABILIZATION AND/OR SELECT FILL MATERIAL AS SPECIFIED, COMPLETE IN PLACE | 5 | TN |  | 0
TAPPING SLEEVE & VALVE
1.29 |  | FOR FURNISHING AND INSTALLING TAPPING SLEEVE AND VALVE ASSEMBLIES, AS SPECIFIED, COMPLETE IN PLACE
| A | 6" X 6" | 1 | EA |  | 0
CATHODIC PROTECTION SYSTEM
1.3 |  | FOR FURNISHING AND INSTALLING THE CATHODIC PROTECTION SYSTEM, AS SPECIFIED AND DIRECTED BY THE ENGINEER
| A | CATHODIC PROTECTION TEST STATION | 24 | EA |  | 0
| B | COATING AND ELECTRICAL BONDING OF JOINTS AND FITTINGS | 1 | LS |  | 0
| C | COMMISSIONING AND INSTALLATION TESTS | 1 | LS |  | 0
SPARE PARTS
1.31 |  | SPARE PARTS FOR FURNISHING AND PROVIDING TO THE OWNER PRIOR TO CONSTRUCTION AS SPECIFIED BY SECTION 40 05 19
| A | 24-INCH BELL JOINT CLAMPS | 6 | EA |  | 0
| B | 24-INCH MECHANICAL JOINT FULL BODY LONG TRANSITION SLEEVES (DI X CI) | 2 | EA |  | 0
| C | 24-INCH MEGALUG WITH DIP FILLER PIECE | 4 | EA |  | 0
| D | 30-INCH BELL JOINT CLAMPS | 6 | EA |  | 0
| E | 30-INCH MECHANICAL JOINT FULL BODY LONG TRANSITION SLEEVES (DI X CI) | 2 | EA |  | 0
| F | 30-INCH MEGALUG WITH DIP FILLER PIECE | 4 | EA |  | 0
| G | 36-INCH LONG PATTERN PCCP SLEEVE | 12 | EA |  | 0
| H | 36-INCH MEGALUG | 24 | EA |  | 0
Total of All Unit Price Bid Items for Scope 1 - Vest WTP to Franklin WTP Force Main |  |  |  |  | 0
Scope 2 - Lee S Dukes High Density Polyethylene (HDPE) Pipeline - Unit Prices
Bid Item |  | Description | Quantity | Unit | Unit Price | Bid Price
2.1 |  | FOR REMOVING EXISTING CHEMICAL FEED LINES
| A | 1-1/2-INCH HDPE PIPE INSIDE 8-INCH CASING | 2000 | LF |  | 0
| B | 1-1/2-INCH HDPE PIPE INSIDE 12-INCH CASING | 4000 | LF |  | 0
| C | 3-INCH / 4-INCH HDPE PIPE INSIDE 8-INCH CASING | 6000 | LF |  | 0
| D | 8-INCH PVC PIPE (MH NO 1 TO WTP BUILDING) | 185 | LF |  | 0
| E | 1-1/2-INCH HDPE PIPE AT INTAKE TOWER AND INSIDE WTP BUILDING | 400 | LF |  | 0
| F | 3-INCH / 4-INCH HDPE PIPE AT INTAKE TOWER AND INSIDE WTP BUILDING | 400 | LF |  | 0
2.2 |  | FOR FURNISHING AND INSTALLING 3" CPVC x 6” PVC DOUBLE CONTAINMENT PIPE AND FITTINGS, AS SPECIFIED, COMPLETE IN PLACE
| A | 3” CPVC X 6” PVC | 6000 | LF |  | 0
| B | SHIELDING FOR EXPOSED SECTIONS (INTAKE TOWER) | 100 | LF |  | 0
| C | CONTINUOUS CABLING FOR LEAK DETECTION | 6000 | LF |  | 0
| D | TESTING AND COMMISSIONING | 1 | LS |  | 0
2.3 |  | FOR FURNISHING AND INSTALLING MANHOLES (6-FOOT DEPTH)
| A | 4-FOOT DIAMETER MANHOLE | 1 | EA |  | 0
| B | 8-FOOT DIAMETER MANHOLE | 2 | EA |  | 0
2.4 |  | FOR FURNISHING AND INSTALLING 8' DIAMETER MANHOLES - EXTRA DEPTH | 22 | VF |  | 0
2.5 |  | FOR FURNISHING AND INSTALLING 8-INCH PVC CASING PIPING, AS SPECIFIED, COMPLETE IN PLACE.
| A | 8-INCH PVC PIPE (OPERATIONS BUILDING TO MH NO 1) | 100 | LF |  | 0
2.6 |  | FOR FURNISHING AND INSTALLING 2-INCH HDPE RAW WATER SAMPLING PIPE AND FITTINGS INSIDE EXISTING CASINGS, AT WTP AND INTAKE TOWER, AS SPECIFIED, COMPLETE IN PLACE.
| A | 2-INCH HDPE PIPE INSIDE EXISTING 12-INCH CASING (MH NO 1 TO MH NO 8) | 3900 | LF |  | 0
| B | 2-INCH HDPE PIPE INSIDE EXISTING 12-INCH CASING (MH NO 1 TO MH NO 8) | 3900 | LF |  | 0
| C | 2-INCH HDPE PIPE INSIDE EXISTING 8-INCH CASING (MH NO 8 TO MH NO 15) | 2000 | LF |  | 0
| D | 2-INCH HDPE PIPE INSIDE EXISTING 8-INCH CASING (MH NO 8 TO MH NO 15) | 2000 | LF |  | 0
| E | 2-INCH HDPE PIPE AT INTAKE TOWER AND INSIDE WTP | 500 | LF |  | 0
2.7 |  | FOR FURNISHING AND INSTALLING STEEL ENCASEMENT PIPE, AS SPECIFIED, COMPLETE IN PLACE, WITHIN EXSITING TRANSCO AND PNG RIGHTS-OF-WAY, AND AT WTP
| A | 16-INCH STEEL ENCASEMENT PIPE WITHIN WILLIAMS TRANSCO ROW | 125 | LF |  | 0
| B | 16-INCH STEEL ENCASEMENT PIPE WITHIN PNG ROW | 85 | LF |  | 0
| C | 12-INCH STEEL ENCASEMENT PIPE (STA 58+75 TO STA 59+81) | 110 | LF |  | 0
2.8 |  | FOR FURNISHING AND INSTALLING 48" STEEL ENCASEMENT PIPE BY JACK AND BORE, AS SPECIFIED, COMPLETE IN PLACE WITHIN NCDOT ROW
| A | 48" STEEL ENCASEMENT PIPE | 190 | LF |  | 0
| B | BORE PIT 5' DEEP | 2 | EA |  | 0
| C | BORE PIT ADDITIONAL DEPTH | 30 | VF |  | 0
2.9 |  | BORE PIT MOBILIZATION FOR UNSUCCESSFUL BORES, AS SPECIFIED | 1 | EA |  | 0
2.1 |  | GROUT INCOMPLETE CASING, AS SPECIFIED | 1 | EA |  | 0
2.11 |  | FOR FURNISHING SELECT BACKFILL, AS SPECIFIED, COMPLETE IN PLACE
| A | SELECT BACKFILL | 200 | CY |  | 0
2.12 |  | FOR SOLID ROCK EXCAVATION, AS SPECIFIED, COMPLETE IN PLACE ($40/CY MINIMUM)
| A | BASE REMOVAL | 100 | CY |  | 0
| B | FOR ADDITIONAL REMOVAL BEYOND 100 CY | 100 | CY |  | 0
| C | FOR EXPLORATORY DRILLING | 100 | LF |  | 0
2.13 |  | FOR STORM DRAIN REPLACEMENT, AS SPECIFIED, COMPLETE IN PLACE
| A | 15” DIAMETER AND SMALLER DRIVEWAY CULVERTS | 40 | LF |  | 0
| B | 18" DIAMETER AND SMALLER | 20 | LF |  | 0
| C | 24" DIAMETER AND LARGER | 20 | LF |  | 0
2.14 |  | FOR CLEARING RIGHT OF WAY AND GRUBBING UNDERBRUSH, AND TREE REMOVAL, AS SPECIFIED
| A | CLEARING | 3100 | SY |  | 0
2.15 |  | FOR CONSTRUCTING AND MAINTAINING VARIOUS EROSION CONTROL DEVICES, TEMPORARY TREE PROTECTION, AS SPECIFIED
| A | TEMPORARY SILT FENCE | 8000 | LF |  | 0
| B | SILT FENCE STONE OUTLET | 40 | EA |  | 0
| C | TEMPORARY CONSTRUCTION ENTRANCES | 4 | EA |  | 0
2.16 |  | FOR FERTILIZING, SEEDING AND MULCHING, AS SPECIFIED
| A | FERTILIZING, SEEDING AND MULCHING | 24200 | SY |  | 0
2.17 |  | SEEDING AS SPECIFIED (WETLANDS) |  |  |  | 0
| A | PERMANENT SEEDING | 500 | SY |  | 0
| B | TEMPORARY SEEDING | 500 | SY |  | 0
| C | PLANTINGS | 500 | SY |  | 0
2.18 |  | FOR CUTTING AND REPLACING EXISTING ASPHALT, CONCRETE CURB AND GUTTER
| A | ASPHALT CUTTING AND REPLACEMENT, FULL SECTION WITHIN TRENCH HORIZONTAL LIMITS | 600 | SY |  | 0
| B | CONCRETE CURB REMOVAL AND REPLACEMENT | 150 | LF |  | 0
2.19 |  | PAVEMENT MARKING LINES AND SYMBOLS
| A | PAVEMENT MARKING | 200 | LF |  | 0
2.2 |  | CONCRETE FLATWORK
| A | 4-INCH THICK SIDEWALK | 50 | SY |  | 0
2.21 |  | TRAFFIC CONTROL
| A | TRAFFIC CONTROL DEVICES | 1 | LS |  | 0
2.22 |  | FOR FURNISHING MATERIALS, EQUIPMENT, AND LABOR TO INSTALL NEW RAW WATER SAMPLING PUMP, CASING, APPURTENANCES, ELECTRICAL, COMPLETE AS SPECIFIED AND SHOWN ON THE PLANS
| A | RAW WATER SAMPLING PUMP, CASING, & APPURTENANCES | 1 | EA |  | 0
| B | SAMPLE PUMP ELECTRICAL, STARTER, CONDUIT, DISCONNECT, MISC. | 1 | LS |  | 0
2.23 |  | FOR FURNISHING MATERIALS, EQUIPMENT, AND LABOR TO INSTALL NEW SONDE CASING, APPURTENANCES, ELECTRICAL, COMPLETE, AS SPECIFIED AND SHOWN ON THE PLANS | 1 | LS |  | 0
2.24 |  | DOUBLE CONTAINMENT PIPE LEAK DETECTION ELECTRICAL | 1 | LS |  | 0
2.25 |  | INTERNAL TV INSPECTION OF PVC CHEMICAL FEED LINE CASINGS | 7000 | LF |  | 0
2.26 |  | FIBER OPTIC CABLE COMPLETE, INCLUDING ELECTRICAL | 6500 | LF |  | 0
2.27 |  | MANHOLE COLLARS AND BOLLARDS AROUND EXISTING MANHOLES AND NEW DOUBLE CONTAINMENT PIPE PULLPORTS | 45 | EA |  | 0
2.28 |  | FOR FURNISHING MATERIALS, EQUIPMENT, AND LABOR TO INSTALL NEW 2-INCH DIAM. HDPE POTABLE WATER LINE, APPURTENANCES, TAP, METER VAULT, BACKFLOW PREVENTER, ENCLOSURE, ETC. COMPLETE AS SPECIFIED AND SHOWN ON THE PLANS
| A | 2-INCH HDPE PIPE | 1700 | LF |  | 0
| B | CONNECTION TO 24-INCH WATER MAIN, INCLUDING TAPPING SLEEVE | 1 | LS |  | 0
| C | 2-INCH RPPZ BACKFLOW PREVENTER AND HEATED ENCLOSURE | 1 | LS |  | 0
| D | TESTING AND DISINFECTION | 1 | LS |  | 0
2.29 |  | FOR INSTALLING NEW CHEMICAL FEED LINES
| A | 1-1/2-INCH HDPE PIPE INSIDE 8-INCH CASING | 2200 | LF |  | 0
| B | 1-1/2-INCH HDPE PIPE INSIDE 12-INCH CASING | 4000 | LF |  | 0
| C | 8-INCH PVC PIPE (MH NO 1 TO WTP BUILDING) | 110 | LF |  | 0
| D | 1-1/2-INCH HDPE PIPE AT INTAKE TOWER AND INSIDE WTP BUILDING | 400 | LF |  | 0
2.3 |  | SUBTOTAL ITEMS 1 THROUGH 29 | 0
2.31 |  | MOBILIZATION (LIMITED TO 3% OF TOTAL OF ALL ITEMS 2.1 THROUGH 2.29) | 1 | LS |  | 0
Total of All Unit Price Bid Items for Lee S Dukes HDPE = Subtotal Items 1 through 29 + Mobilization |  |  |  |  | 0
Total Bid Price (without contingency) = Total of All Unit Price Bid Items for Vest WTP to Franklin WTP Force Main + Lee S Dukes High Density Polyethylene (HDPE) Pipeline |  |  |  |  | 0
Contingency Allowance 13% of Total Bid Price = |  |  |  |  | 0
Total Bid Price with Contingency = Total Bid Price without contingency + Contingency Allowance |  |  |  |  | 0