#### SP-XX, ALLOWANCE FOR PRIVATE IRRIGATION SYSTEMS

Version Date: 3/26/2018 Revision Date: XX/XX/XXXX by XXX

1. **DESCRIPTION**

This item shall include all elements of work required to repair private irrigation systems impacted during the construction of this project. These repairs are limited to the impacts within the project limits. Any repairs necessary due to contractor’s means and methods or due to the contractor’s negligence are not included in this allowance.

**Additional City Specifications**

In the event any repair is required to private irrigation during construction, or other repair work as directed by the Engineer, include an Allowance of $XX,000.00 for repair. The repair shall restore the private irrigation systems to pre-existing conditions. The contractor must provide a detailed cost estimate for approval by the engineer prior to commencing work. The cost estimate shall include but not be limited to the following:

* Sprinkler heads for irrigation
* Water line for irrigation
* Water connection to the irrigation system
1. **MEASUREMENT**

There will be no separate measurement made for private irrigation systems.

1. **PAYMENT**

Payment will be made under:

 ALLOWANCE FOR PRIVATE IRRIGATION SYSTEMS……………………………………………............................ ALLW