|  | Design Procedure Form: Infiltration Trench |  |  |  |
| --- | --- | --- | --- | --- |
|  | INFILTRATION TRENCH FEASIBILITY 1. Is the use of an infiltration trench appropriate? 2. Confirm design criteria and applicability. PRELIMINARY HYDROLOGIC CALCULATIONS 3. Compute, WQv volume requirements Compute Runoff Coefficient, Rv Compute WQv volume requirements 4. Compute site hydrologic input parameters Development Conditions Area CN Adjusted CN Time of concentration 5. Compute WQp peak flow Compute modified SCS curve number 6. Compute CPv Compute S Compute 1-yr, 24-hr total rainfall depth Compute qd Compute CPv 7 Size flow diversion structure 8. Compute release rates Compute WQv release rate Compute CPv release rate INFILTRATION TRENCH DESIGN 9. Pretreatment volume (for off-line designs) Volpre = 0.25 (WQv) or 0.50 (WQv) 10. Size infiltration trench Width must be less than 25 ft 11. Design spillway(s) |  | NOTES: Rv = ______ WQv = ______ acre-ft Pre-developed Post-developed ______ acres ______ acres ______ ______ ______ ______ ______ hours ______ hours WQp = ______ cfs CN = ______ S = ______ Rainfall Depth = ______ inches Qd = ______ inches CPv =__ acre-ft Release Rate = ______ cfs Release Rate = ______ cfs Volpre = _____ft3 Area = ______ ft2 Width = ______ft Length = ______ft3 Length = _____ft |  |
|  | Notes: __________________________________________________________________________________ _________________________________________________________________________________________ |  |  |  |