|  | Design Procedure Form: Grassed Channels |  |  |  |
| --- | --- | --- | --- | --- |
|  | GRASS CHANNEL FEASIBILITY 1. Is the use of grass channel appropriate? 2. Confirm design criteria and applicability. PRELIMINARY HYDROLOGIC CALCULATIONS 3. Compute, WQv volume requirements Compute Runoff Coefficient, Rv Compute WQv volume requirements 4. Compute site hydrologic input parameters Development Conditions Area CN Adjusted CN Time of concentration Compute CPv Compute Q10 Compute Q25 Compute Q100 GRASS CHANNEL DESIGN 5. Pretreatment volume (if included in design) Volpre = Acres of Impervious Area(0.2”)(1’/12”) 6. Determine channel dimensions Assume trapezoidal channel with max depth of 4.0 inches 7. Compute number of check dams (or similar structures) required to maintain 1% hydraulic gradeline slope 8. Check low flow and design storm velocity erosion potential and freeboard Overflow weir (use weir equation) Use weir equation for slot length (Q = CLH3/2) 9. Design low flow orifice or other drawdown condition for each checkdam Area of orifice from orifice equation Q = CA(2gh)0.5 10. Attached vegetation and landscaping plan including an invasive species prevention plan. |  | NOTES: Rv = ______ WQv = ______ acre-ft Pre-developed Post-developed acres acres s s hours hours CPv = ______ cfs Qp10 = ______ cfs Qp25 = ______ cfs Q100 = ______ cfs WQpre = ______ acre-ft Length = ______ ft Width = ______ft Side Slopes = ______ Area = ______ft2 Slope = ______ft/ft Depth = ______ft Distance = ______ft Number = ______each Vmin = _____fps Weir Length = ____ft Area = ____ft2 Diam. = ____inch |  |
|  | Notes: ______________________________________________________________________________________ ______________________________________________________________________________________ |  |  |  |