## Pricing Sheet
| Product Description | Standard Brand / Mfr.Part # | Alternate Brand / Mfr.Part # (if bidding Standard Brand put "N/A") | Brand / Mfr.Part # | Bid Price Per Unit
1 | 3 NH COUPLING | HEAVY DUTY |  |  | $
2 | 1/3 HP DRAIN PUMP | LIBERTY / 404 |  |  | $ | Local company information (refer to the ITB Section 3: Contract, Exhibit A Specifications, Item 4 "Response Time and Location").
3 | KITCHEN FAUCET LESS SPRAYER | DELTA / 100-DST |  |  | $
4 | KITCHEN FAUCET | AMERICAN STANDARD / 7500.17 |  |  | $
5 | LAV FAUCET | AMERICAN STANDARD / 7385.04 |  |  | $ | COMPANY NAME:
6 | WALL HUNG WATER CLOSET | AMERICAN STANDARD - AF WALL / 257101.02 |  |  | $ | COMPANY CONTACT:
7 | WALL HUNG URINAL | AMERICAN STANDARD - ALLBROOK / 6541132.02 |  |  | $ | ADDRESS:
8 | 3/8 JR. BEAM CLAMP PLAIN | ANVIL / 500305008 |  |  | $
9 | 3 RISER CLAMP PLATED | ANVIL / 500361084 |  |  | $
10 | 2.5 GALLON MINI TANK | EEMAX EMT 2.5 |  |  | $ | PHONE:
11 | 80 GALLON WATER HEATER 480V |  |  |  | $ | EMAIL:
12 | 50 GALLON WATER HEATER 120V |  |  |  | $ | WEBSITE:
13 | 40 GALLON WATER HEATER 120V |  |  |  | $
14 | 30 GALLON LB WATER HEATER 480V 3PH 3KW |  |  |  | $
15 | 1/2 PEX CRIMP RING |  |  |  | $
16 | 1/2 X 20 RED PEX TUBE |  |  |  | $
17 | 3/4 X 20 RED PEX TUBE |  |  |  | $
18 | 1/2 X 100 WHT PEX TUBE |  |  |  | $
19 | 1/2 X 20 WHT PEX TUBE |  |  |  | $
20 | 3/4 X 20 WHT PEX TUBE |  |  |  | $
21 | 3/4 X 20 PVC SCH 40 | CHARLOTTE PIPE |  |  | $
22 | 4 X 10 NH PIPE | CHARLOTTE PIPE |  |  | $
23 | 3 X 10 NH PIPE | CHARLOTTE PIPE |  |  | $
24 | 3 X 10 PVC FOAM CORE PE | CHARLOTTE PIPE |  |  | $
25 | 1-1/2 X 20 PVC FOAM CORE PE | CHARLOTTE PIPE |  |  | $
26 | 2 X 20 PVC SCH 80 BE PIPE | CHARLOTTE PIPE |  |  | $
27 | 2 X 10 PVC SCH 40 PE PIPE | CHARLOTTE PIPE |  |  | $
28 | 1-1/4 X 20 PVC SCH 40 BE PIPE | CHARLOTTE PIPE |  |  | $
29 | 1-1/2 X 20 PVC SCH 40 PE PIPE | CHARLOTTE PIPE |  |  | $
30 | 4 X 20 PVC SCH 40 PE PIPE | CHARLOTTE PIPE |  |  | $
31 | 1-1/2 X 10 PVC SCH 40 PE PIPE | CHARLOTTE PIPE |  |  | $
32 | 1 X 20 PVC SCH 40 BE PIPE | CHARLOTTE PIPE |  |  | $
33 | 5 X 10 NH PIPE | CHARLOTTE PIPE |  |  | $
34 | 1.5 DWV 1/4 BEND | CHARLOTTE PIPE |  |  | $
35 | SINGLE LEVER W SPRAY | DELTA / B4410LF |  |  | $
36 | SINGLE HANDLE LAV W/POP-UP | DELTA / B510LF |  |  | $
37 | 38D SPRNG-FLO AER DISP (144PC) | DELTA / RP330 |  |  | $
38 | SEATS AND SPRINGS QTY. 2 | DELTA / RP4993 |  |  | $
39 | BARRIER FREE FRONT SIDE WATER FOUNTAIN | ELKAY / EZS8S |  |  | $
40 | WATER BOTTLE FILLING STATION | ELKAY / EZSH2O |  |  | $
41 | DOUBLE COOLER HI-LO | ELKAY / EZSTL8LC |  |  | $
42 | 1/2 PEX BRASS EQUAL TEE LF |  |  |  | $
43 | 1/2 PEX X 1/2 M SWT ADPT |  |  |  | $
44 | 1/2 PEX BRASS 90 ELL LF |  |  |  | $
45 | 1 1/4 X 1 1/4 POLY BEV SJ WSHR |  |  |  | $
46 | 1 1/2 X 1 1/2 POLY BEV SJ WSHR |  |  |  | $
47 | 1.25 X 1.25 P TRAP 20 GA |  |  |  | $
48 | WALL HUNG TOILET 1.6 GA | KOHLER KINGSTON/ 4325-0 |  |  | $
49 | PLAS OPEN FRT ELOG L/COVER | CENTOCO / 500STS CCSS |  |  | $
50 | 1-1/2 GALV 2-HOLE PIPE STRAP |  |  |  | $
51 | 2 3/8 X 1/2 X 6 NOMALOCK |  |  |  | $
52 | 1 5/8 X 1/2 X 6 NOMALOCK |  |  |  | $
53 | 1.25 X 12 TUBE TBE 20 GA |  |  |  | $
54 | 1.25 CAST GRID STRN |  |  |  | $
55 | SERVICE SINK FAUCET | T&S / B-0665-BSTR |  |  | $
56 | QT. CALCI- BUSTER | THRIFT |  |  | $
57 | 208v 3 PHASE HEATER | STATE / CSB 82-18- SFF |  |  | $
58 | WALL HUNG URINAL | SLOAN / SU -1006 |  |  | $
59 | WALL HUNG WATER CLOSET | SLOAN / ST-2459 |  |  | $
60 | XL FLUSH VALVE | SLOAN / Regal 111 XL |  |  | $
61 | XL FLUSH VALVE URINAL | SLOAN / Regal 186- 01-XL |  |  | $
62 | WATER CLOSET FLUSH VALVE | SLOAN / Royal 111- 1.6-SMO-OR |  |  | $
63 | URINAL FLUSH VALVE | SLOAN / ROYAL 186-SMO-1.0-OR |  |  | $
64 | SOLENOID REPLACEMENT | SLOAN / EBF11A |  |  | $
65 | CP BATTERY FAUCET | SLOAN / EBF-85 |  |  | $
66 | BTRY SENS FL VLV RETRO KIT | SLOAN / EBV-89A |  |  | $
67 | MID BASYS FAUCET | SLOAN / EFX 200.000.0000 |  |  | $
68 | LOW BASYS FAUCET | SLOAN / EFX 300.000.0000 |  |  | $
69 | BAYSYS CROWN | SLOAN / EFX-1-A |  |  | $
70 | SOLENOID VALVE | SLOAN / EFX-37-A |  |  | $
71 | SOLENOID VALVE | SLOAN / EFX-15-A |  |  | $
72 | CLOSET RELIEF VALVE | SLOAN / A19C |  |  | $
73 | FAUCET AERATOR | SLOAN / ETF-1024A |  |  | $
74 | VAC BRKR REPAIR KIT | SLOAN / V551A |  |  | $
75 | DIAPHRAGM - REGAL | SLOAN / A156A |  |  | $
76 | REPAIR KIT 1.5 URINAL | SLOAN / A37A |  |  | $
77 | REPAIR KIT 3.5 CLOSET | SLOAN / A38A |  |  | $
78 | REPAIR KIT 1.6 CLOSET | SLOAN / A41A |  |  | $
79 | REPAIR KIT 1.0 URINAL | SLOAN / A42A |  |  | $
80 | 818R 8 RECIP SAW BLADE 18TPI | LENOX |  |  | $
81 | 1 1/4 x 3/4 URINAL SPUD | JONES |  |  | $
82 | 1-1/2 CLOSET SPUD | JONES |  |  | $
83 | FIT ALL CP TNK TRP LVR BRS ARM | FLUIDMASTER |  |  | $
84 | WAX GASKET W/HORN |  |  |  | $
85 | OPN FRT ELG L/COVER |  |  |  | $
86 | 1/2 X 520 X .0035 PTFE TAPE |  |  |  | $
87 | STANDARD WAX GASKET |  |  |  | $
88 | (61C-6) 3/8 BRASS COMP CAP LF |  |  |  | $
89 | (62-6) 3/8 OD COMP UNION LF |  |  |  | $
90 | 1/4 OD X 1/4 MIP COMP CONN LF |  |  |  | $
91 | 3/8 X 1/4 OD COMP UNION LF |  |  |  | $
92 | 10" ANGLE NOSE SLIP JOINT PLIERS | DOUGLAS |  |  | $
93 | TUBIING CUTTER | RIDGE TOOL 31652 |  |  | $
94 | 1/2 TUBE TALON W/ NAIL |  |  |  | $
95 | 3/4 TUBE TALON W/ NAIL |  |  |  | $
96 | 1 LB. THRIFT |  |  |  | $
97 | 2 LB. THRIFT |  |  |  | $
98 | ADPT 1/2 FSWT X 1/2 PEX |  |  |  | $
99 | 14 OZ PLUMBERS PUTTY | OATEY / 3116 |  |  | $
100 | O-RING |  |  |  | $
101 | TUB TILE WHITE CAULK | DAP |  |  | $
102 | 14.1 OZ MAPP GAS CYLINDER | WORTHINGTON / 333668 |  |  | $
103 | NEO-SEAL CLOSET GASKET | ZURN / Z1200 |  |  | $
104 | 3/4 VAC REL VLV 3/4 MNPT | ZURN / 34-VR10XL |  |  | $
105 | SOAP DISPENSER E | ELITE / 236100 |  |  | $
106 | EASY FILL SOAP DISPENSING SYSTEM | ASI GROUP / 0393- 1AC/0393-6-1AC |  |  | $
107 | SOLDER 100% LEAD FREE | 1# SILVABRITE |  |  | $
108 | FINISH INSTALLATION KIT | ZERN 66955-228-9 |  |  | $
109 | HEAT TAPE - PRESET THERMOSTAT | EZHEAT EH-38 |  |  | $
110 | BARB FITTINGS 3/4 X 1/2 TEE | MATCO |  |  | $
111 | 1/2 CRIMP TOOL | SIOUX 305-92PK |  |  | $
112 | 3/4 CRIMP TOOL | SIOUX 305-93PK |  |  | $
113 | NEOPRENE GASKET | SMITH GASKET 0100 |  |  | $
114 | EMERGENCY EYE/SHOWER WASH | BRADLEY S19- 325EW |  |  | $
115 | SAND CLOTH 1 1/2 X 25YD |  |  |  | $
116 | #12 201 SS CLAMP 11/16 - 1-1/4 |  |  |  | $
117 | #16 201 SS CLAMP 13/16 - 1-1/2 |  |  |  | $
118 | #8 201 SS CLAMP 1/2 - 29/32 |  |  |  | $
119 | (64-6) 3/8 OD COMP TEE LF |  |  |  | $
120 | *NLA 10" CLR HOUSING 3/4" W/PR |  |  |  | $
121 | *NLA MONT WS LAV VR LVR L/D .5 |  |  |  | $
122 | ½ PXF LL BRS FEM ADP |  |  |  | $
123 | ¾ PXF LL BRS FEM ADP |  |  |  | $
124 | ¾ PXM LL BRS MALE ADP |  |  |  | $
125 | ¾ X ½ PXP LL BRS RED COUP |  |  |  | $
126 | 1 1/2 X 1 1/4 SQ CUT SJ WSHR |  |  |  | $
127 | 1 1/8 X 1 X 6 NOMALOCK |  |  |  | $
128 | 1 IPS X 3 SS REPAIR CLAMP |  |  |  | $
129 | 1 X 3/4 BRASS BUSH |  |  |  | $
130 | 1.25 CHROME SJ 45 ELL 20G |  |  |  | $
131 | 1.5 CHROME SJ 45 ELL CHROME |  |  |  | $
132 | 1.5 CHROME SJ 90 ELL 20G |  |  |  | $
133 | 1.5 DWV FTG CO ADPT W/PLUG |  |  |  | $
134 | 1.5 X 2 DWV RED |  |  |  | $
135 | 1.5 X16 SINK TLPC DBL END FLNG |  |  |  | $
136 | 1.5 X8 BRANCH TLPC SJ 5/8OD |  |  |  | $
137 | 1/2 BRASS ELBOW 90 |  |  |  | $
138 | 1/2 2-HOLE COP CLAD STRAP |  |  |  | $
139 | 1/2 BLK MALL 90 ELBOW |  |  |  | $
140 | 1/2 BLK MALL CAP |  |  |  | $
141 | 1/2 BLK MALL TEE |  |  |  | $
142 | 1/2 CXF DROP EAR 90 CAST |  |  |  | $
143 | 1/2 GALV 2-HOLE PIPE STRAP |  |  |  | $
144 | 1/2 GALV MALL CAP |  |  |  | $
145 | 1/2 HP SEWAGE PUMP |  |  |  | $
146 | 1/2 IMPORT A53A BLACK T&C |  |  |  | $
147 | 1/2 MAXITROL REG W/VENT LMTR |  |  |  | $
148 | 1/2 PEX BRASS 90 ELL LF |  |  |  | $
149 | 1/2 PEX BRASS COUPLING LF |  |  |  | $
150 | 1/2 PEX X 1/2 FPT BRASS DE 90 |  |  |  | $
151 | 1/2 PEX X 1/2 M SWT ADPT |  |  |  | $
152 | 1/2 SHARKBITE BALL VALVE LF |  |  |  | $
153 | 1/2 SHARKBITE END CAP LF |  |  |  | $
154 | 1/2 SPLIT RING COPPER |  |  |  | $
155 | 1/2 SPLIT RING PLAIN |  |  |  | $
156 | 1/2 SWT LF BRS BALL VALVE 600# |  |  |  | $
157 | 1/2 SWT X 3/8 CMP ANG STOP CP |  |  |  | $
158 | 1/2 X 1/4 CXF ADAPT |  |  |  | $
159 | 1/2 X 10 ZINC ATR |  |  |  | $
160 | 1/2 X 100 WHT PEX COIL VIEGA |  |  |  | $
161 | 1/2 X 1-1/2 BLACK NIPPLE |  |  |  | $
162 | 1/2 X 2 RB NIP |  |  |  | $
163 | 1/2 X 2 GALV NIPPLE |  |  |  | $
164 | 1/2 X 3/8 BLK MALL CPLG |  |  |  | $
165 | 1/2 X 4 BLACK NIPPLE |  |  |  | $
166 | 1/2 X CLOSE BLACK NIPPLE |  |  |  | $
167 | 1/2" CRIMP RING; COPPER VIEGA |  |  |  | $
168 | 1/2PEX X 3/4MIP BRASS ADPT LF |  |  |  | $
169 | 1/2X3/4 CXM ADAPT |  |  |  | $
170 | 1/3HP BUILDER SERIES SUMP PUMP |  |  |  | $
171 | 1/4 OD X 1/8 MIP COMP CONN LF |  |  |  | $
172 | 1/4 OD X 3/8 MIP COMP ELBOW LF |  |  |  | $
173 | 1/4 OD X 50 REF COP TUBE |  |  |  | $
174 | 1/4 X 1 1/4 TAPCON |  |  |  | $
175 | 1/4X2-1/4 BP CLOSET BOLT PAIR |  |  |  | $
176 | 1/4X3/4 STOVE BOLT |  |  |  | $
177 | 1/4X3-1/2 BP CLST BLT W/TNNRMN |  |  |  | $
178 | 100 10X1 SCREW &1 ANCHOR, 1 |  |  |  | $
179 | 100 28 GAUGE HANGER STRAP |  |  |  | $
180 | 100 LB GAS TEST GAUGE ASSY |  |  |  | $
181 | 1¼ X 1¼ X ¾ PXPXP COP TEE |  |  |  | $
182 | 1½ PRESS COP TUBE CAP |  |  |  | $
183 | 1½ PXPXP COP TEE |  |  |  | $
184 | 1-1/2 CXC CPLNG NO STOP |  |  |  | $
185 | 1-1/2 GALV MALL COUPLING |  |  |  | $
186 | 1-1/2 OR 2 REDI- VENT BULK PACK |  |  |  | $
187 | 1-1/2 X 1 CXC RED CPLNG |  |  |  | $
188 | 1-1/2 X 3/4 GALV MALL BUSH |  |  |  | $
189 | 1-1/2 X 4 GALV NIPPLE |  |  |  | $
190 | 1-1/2 X 4 RB NIP |  |  |  | $
191 | 1-1/2 X 6 GALV NIPPLE |  |  |  | $
192 | 1-1/2" X 12" GALV NIPPLE |  |  |  | $
193 | 1-1/4 X 1 CXC RED CPLNG |  |  |  | $
194 | 1-1/4 X 2 GALV NIPPLE |  |  |  | $
195 | 1-1/4 X 3/4 BRASS BUSH |  |  |  | $
196 | 1-1/4 X 3/4 CXC RED CPLNG |  |  |  | $
197 | 1-1/4 X 3/4 GALV MALL TEE |  |  |  | $
198 | 1-1/4 X CLOSE RB NIP |  |  |  | $
199 | 1-1/4 X CLOSE GALV NIPPLE |  |  |  | $
200 | 12 SS CLOSET. CONN |  |  |  | $
201 | 12 SS LAV. CONNECTORS |  |  |  | $
202 | 14 OZ PLUMBERS PUTTY |  |  |  | $
203 | 1-5/8X10 GREEN STRUT |  |  |  | $
204 | 1-5/8X20 GREEN STRUT |  |  |  | $
205 | 156R 12 RECIP SAW BLADE 6TPI |  |  |  | $
206 | 16 END OUTLET CONT WST SJ/DC |  |  |  | $
207 | 16OZ PVC RAIN-R- SHINE BLUE CEM |  |  |  | $
208 | 1HP GRINDER PUMP 115V/1P/2"DIS |  |  |  | $
209 | 1HP GRINDER PUMP 115V/1P/2"DIS |  |  |  | $
210 | 1X3/4 CXM ADAPT |  |  |  | $
211 | 2 BRASS ELBOW 45 |  |  |  | $
212 | 2 BLK MALL 90 ELBOW |  |  |  | $
213 | 2 BLK MALL CAP |  |  |  | $
214 | 2 BLK MALL TEE |  |  |  | $
215 | 2 BLK MALL UNION |  |  |  | $
216 | 2 CP PLASTIC SHOWER HEAD |  |  |  | $
217 | 2 CXC 90 EL |  |  |  | $
218 | 2 CXC BRS SWNG CHK VLV LF |  |  |  | $
219 | 2 CXC UNION |  |  |  | $
220 | 2 CXM ADAPT |  |  |  | $
221 | 2 DRY GAUGE 1/4 LM 0-100 |  |  |  | $
222 | 2 DWV 1/8 BEND |  |  |  | $
223 | 2 DWV MALE ADPT |  |  |  | $
224 | 2 DWV P-TRAP W/SOLVENT WELD |  |  |  | $
225 | 2 DWV SAN TEE ST |  |  |  | $
226 | 2 FOOT RED WEB STRAP |  |  |  | $
227 | 2 GAL EXPANSION TANK |  |  |  | $
228 | 2 GALV 2-HOLE PIPE STRAP |  |  |  | $
229 | 2 GROMMET F/S40/S80 PIPE |  |  |  | $
230 | 2 HD NH COUPLING |  |  |  | $
231 | 2 IMPORT A53A BLACK T&C |  |  |  | $
232 | 2 IPS BRS SWNG CHK VLV LF |  |  |  | $
233 | 2 LB R-D ROOT DESTROYER |  |  |  | $
234 | 2 NH 1/4 BEND |  |  |  | $
235 | 2 PS40 90 |  |  |  | $
236 | 2 PS40 COUP |  |  |  | $
237 | 2 PS40 MIP ADPT |  |  |  | $
238 | 2 PS80 90 |  |  |  | $
239 | 2 PS80 FIP ADPT |  |  |  | $
240 | 2 SPLIT RING PLAIN |  |  |  | $
241 | 2 SWT LF BRS BALL VALVE 600# |  |  |  | $
242 | 2 SXS PVC BALL VALVE |  |  |  | $
243 | 2 X 1 GALV MALL BUSH |  |  |  | $
244 | 2 X 1.5 DWV FLUSH BUSH |  |  |  | $
245 | 2 X 1-1/2 BRASS BUSH |  |  |  | $
246 | 2 X 1-1/2 CXC RED CPLNG |  |  |  | $
247 | 2 X 1-1/4 BRASS BUSH |  |  |  | $
248 | 2 X 20 PVC SCH 40 PE PIPE |  |  |  | $
249 | 2 X 3 RB NIP |  |  |  | $
250 | 2 X 3 BLACK NIPPLE |  |  |  | $
251 | 2 X 3 DWV RED |  |  |  | $
252 | 2 X 3/4 BLK MALL CPLG |  |  |  | $
253 | 2 X 3/4 BLK MALL TEE |  |  |  | $
254 | 2 X 4 RB NIP |  |  |  | $
255 | 2 X 4 BLACK NIPPLE |  |  |  | $
256 | 2 X 4-1/2 RB NIP |  |  |  | $
257 | 2 X 6 BLACK NIPPLE |  |  |  | $
258 | 2 X CLOSE BLACK NIPPLE |  |  |  | $
259 | 20' 120V 15A PIGGYBACK W/CLAMP |  |  |  | $
260 | 20 SS CLOSET. CONN |  |  |  | $
261 | 20 SS LAV. CONNECTORS |  |  |  | $
262 | 2-1/2 CXC 90 EL |  |  |  | $
263 | 2-1/2 CXC CPLNG W/STOP |  |  |  | $
264 | 2-1/2 SWT LF BRS BALL VALVE |  |  |  | $
265 | 2-1/2 X 2 FTGXC RED |  |  |  | $
266 | 2-1/2X2-1/2X2 CXCXC TEE |  |  |  | $
267 | 22 WH STD TO 52 GAL/650# |  |  |  | $
268 | 24 FRP SEWER BASIN LID |  |  |  | $
269 | 24 GAS CON 3/4 MIP X 3/4 MIP |  |  |  | $
270 | 24X72 TAPERED SEWER BASIN |  |  |  | $
271 | 2-HNDL WM SERV SINK FCT RC |  |  |  | $
272 | 2INTO ONE HOSE GUNK |  |  |  | $
273 | 2X1-1/4 GALV MAL CPLG |  |  |  | $
274 | 3 CLST AUGER- DOWNHEAD |  |  |  | $
275 | 3 DWV 1/16 BEND |  |  |  | $
276 | 3 DWV 1/4 BEND |  |  |  | $
277 | 3 DWV 1/8 BEND |  |  |  | $
278 | 3 DWV COUP |  |  |  | $
279 | 3 HD NH COUPLING |  |  |  | $
280 | 3 PS40 90 |  |  |  | $
281 | 3 SV CHRLT SEAL GASKET |  |  |  | $
282 | 3 X 12 BLACK NIPPLE |  |  |  | $
283 | 3 X 150 ASJ TAPE |  |  |  | $
284 | 3 X 2 PS40 BUSH SXS |  |  |  | $
285 | 3 X 20 PVC SCH 40 PE PIPE |  |  |  | $
286 | 3/4 BRASS COUPLING |  |  |  | $
287 | 3/4 BRASS CAP |  |  |  | $
288 | 3/4 2-HOLE COP CLAD STRAP |  |  |  | $
289 | 3/4 BRASS TEE |  |  |  | $
290 | 3/4 CXF 90 DROP EAR EL NL CAST |  |  |  | $
291 | 3/4 CXF ADAPT |  |  |  | $
292 | 3/4 CXM ADAPT |  |  |  | $
293 | 3/4 GALV MALL 90 ELBOW |  |  |  | $
294 | 3/4 GALV MALL CAP |  |  |  | $
295 | 3/4 HP DISPOSER |  |  |  | $
296 | 3/4 IPS BRS SWNG CHK VLV LF |  |  |  | $
297 | 3/4 NCLX-5 150# SHORT SHANK |  |  |  | $
298 | 3/4 NCLX-5L 150# LONG SHANK |  |  |  | $
299 | 3/4 NPT LF BRS BALL VALVE 600# |  |  |  | $
300 | 3/4 PEX BRASS 90 ELL LF |  |  |  | $
301 | 3/4 PEX BRASS COUPLING LF |  |  |  | $
302 | 3/4 PEX X 3/4 M SWT ADPT |  |  |  | $
303 | 3/4 Push On ELBOW LF |  |  |  | $
304 | 3/4 Push On END CAP LF |  |  |  | $
305 | 3/4 Push OnFEM ADPT LF |  |  |  | $
306 | 3/4 Push On TEE LF |  |  |  | $
307 | 3/4 SPLIT RING COPPER |  |  |  | $
308 | 3/4 X 1/2 GALV MALL TEE |  |  |  | $
309 | 3/4 X 1/2 SHARKBITE COUP LF |  |  |  | $
310 | 3/4 X 1/4 BRASS BUSH |  |  |  | $
311 | 3/4 X 1-1/2 GALV NIPPLE |  |  |  | $
312 | 3/4 X 2 RB NIP |  |  |  | $
313 | 3/4 X 20 TYPE L COPPER TUBE |  |  |  | $
314 | 3/4 X 20 WHT PEX TUBE BOW |  |  |  | $
315 | 3/4 X 2-1/2 GALV NIPPLE |  |  |  | $
316 | 3/4 X 3/4 X 1 GALV MAL TEE |  |  |  | $
317 | 3/4 X 4 BLACK NIPPLE |  |  |  | $
318 | 3/4 X CLOSE RB NIP |  |  |  | $
319 | 3/4MHX3/4MIP/TAP 1/2FIP GH ADPT |  |  |  | $
320 | 3/4PEX X 3/4MIP BRASS ADPT LF |  |  |  | $
321 | 3/4X1 CXF ADAPT |  |  |  | $
322 | 3/4X18 LF FLEX WH CONNECTOR |  |  |  | $
323 | 3/4X3/4X1/2 Push On TEE LF |  |  |  | $
324 | 3/8 CEILING FLANGE COPPER |  |  |  | $
325 | 3/8 DUAL CHK VLV LF UNION FXF |  |  |  | $
326 | 3/8 JR. BEAM CLAMP PLAIN |  |  |  | $
327 | 3/8 LF TMV |  |  |  | $
328 | 3/8 OD COMP X 1/2 MIP CHR ADPT |  |  |  | $
329 | 3/8 OD PLASTIC FERRULE |  |  |  | $
330 | 3/8 OD X 1/2 FIP COMP CONN LF |  |  |  | $
331 | 3/8 OD X 1/2 FIP COMP ELBOW LF |  |  |  | $
332 | 3/8 OD X 1/2 MIP COMP CONN LF |  |  |  | $
333 | 3/8 OD X 3/4 MIP COMP CONN LF |  |  |  | $
334 | 3/8 OD X 3/8 MIP COMP CONN LF |  |  |  | $
335 | 3/8 X 10 ZINC ATR |  |  |  | $
336 | 3/8 X CLOSE BLACK NIPPLE |  |  |  | $
337 | 3/8ODX3/8OD X 3/8 FIP TEE ADPT |  |  |  | $
338 | 3/8X3/8 SIDE BEAM BRACKET PLN |  |  |  | $
339 | 300 PSI WATER TEST GAUGE |  |  |  | $
340 | 32 OZ PURPLE PRIMER-NSF LISTED |  |  |  | $
341 | 32 OZ PVC HVY DUTY CLEAR CEM |  |  |  | $
342 | 33X22 4H DYTN ELIT SNK 8-1/16 |  |  |  | $
343 | 3G FLOOR MODEL WATER COOLER |  |  |  | $
344 | 4 CLS FLG REPL COMP PVC |  |  |  | $
345 | 4 DWV 1/16 BEND |  |  |  | $
346 | 4 DWV 1/4 BEND |  |  |  | $
347 | 4 DWV 1/4 BEND ST |  |  |  | $
348 | 4 DWV 1/8 BEND |  |  |  | $
349 | 4 DWV COUP |  |  |  | $
350 | 4 GALV 2-HOLE PIPE STRAP |  |  |  | $
351 | 4 GROMMET F/S40/S80 PIPE |  |  |  | $
352 | 4 PLAS. ROOF COLLAR |  |  |  | $
353 | 4 PS40 CAP |  |  |  | $
354 | 4 PS40 TEE |  |  |  | $
355 | 4 RISER CLAMP PLATED |  |  |  | $
356 | 4 SS CLAMP |  |  |  | $
357 | 4 WAY KEY 1/4- 11/32 SQ |  |  |  | $
358 | 4 X 20 PVC SCH 40 PE PIPE |  |  |  | $
359 | 4 X 3 DWV FLUSH BUSH |  |  |  | $
360 | 4 X 4 /4 X 3 DWV CLST FLG |  |  |  | $
361 | 4 X 4 /4 X 3 DWV CLST FLG W/KO |  |  |  | $
362 | 4.5 GAL EXPANSION TANK |  |  |  | $
363 | 40G EL TALL 4.5KW 240V |  |  |  | $
364 | 42L HOLE SAW 2- 5/8 (67MM) |  |  |  | $
365 | 4500W 240V SCREW IN ELEMENT |  |  |  | $
366 | 48L HOLE SAW 3 (76MM) |  |  |  | $
367 | 5 MICRON 10" CARBON FILTER |  |  |  | $
368 | 5 PLATED CLEVIS HANGER |  |  |  | $
369 | 5/16X1-3/4 BP CLOSET BOLT PAIR |  |  |  | $
370 | 5/8 X 1 X 6 NOMALOCK |  |  |  | $
371 | 5/8 X 1/2 X 6 NOMALOCK |  |  |  | $
372 | 5/8X50 COMMERCIAL GRDN HOSE |  |  |  | $
373 | 58L HOLE SAW 3- 5/8 (92MM) |  |  |  | $
374 | 6 X 20 PVC SCH80 PE PIPE |  |  |  | $
375 | 6" GALV. STEEL T&C |  |  |  | $
376 | 600P PLUMBER 10PC HOLE SAW KIT |  |  |  | $
377 | 614R 6 RECIP SAW BLADE 14TPI |  |  |  | $
378 | 64L HOLE SAW 4 (102MM) |  |  |  | $
379 | 656R 6 RECIP SAW BLADE 6TPI |  |  |  | $
380 | 7/8 X 1 X 6 NOMALOCK |  |  |  | $
381 | 782 PT HVY DUTY CEM |  |  |  | $
382 | 782 QT HVY DUTY CEM |  |  |  | $
383 | 8 NH COUPLING |  |  |  | $
384 | 8 NH SANITARY TEE |  |  |  | $
385 | 8 X 4 DWV FLUSH BUSH |  |  |  | $
386 | 800DTDG 9 DIAMOND CI RECIP BLD |  |  |  | $
387 | 80L HOLE SAW 5 (127MM) |  |  |  | $
388 | 818R 8 RECIP SAW BLADE 18TPI |  |  |  | $
389 | 8G UNIV WALL MNT B/L ADA W/C |  |  |  | $
390 | 8G WALL MOUNT ADA W/C |  |  |  | $
391 | 9-1 ALL IN ONE SCREWDRIVER |  |  |  | $
392 | 956R 9 RECIP SAW BLADE 6TPI |  |  |  | $
393 | 10RI 1.6 TANK WHT |  |  |  | $
394 | ELG BOWL 1.6/1.28 WHT |  |  |  | $
395 | ADPT 1/2 FSWT X 1/2 PEX |  |  |  | $
396 | ADPT 3/4 FSWT X 3/4 PEX |  |  |  | $
397 | ANGLE NOSE SLIP JOINT PLIERS |  |  |  | $
398 | ARBOR 1H KD PULL DOWN CHR |  |  |  | $
399 | BM 1/2 X 1429 T TAPE |  |  |  | $
400 | BM C BLTS 5/16 X 2-1/4 SLD BR |  |  |  | $
401 | BOILER DRAIN 1/2 MIP X3/4 HOSE |  |  |  | $
402 | BOILER DRAIN 3/4 MIP X3/4 HOSE |  |  |  | $
403 | BOW 1/2 PEX CRIMP RING |  |  |  | $
404 | BOW 3/4 PEX CRIMP RING |  |  |  | $
405 | 12R TANK WHT 1.28GPF |  |  |  | $
406 | RH EL BWL WHT |  |  |  | $
407 | RH PA UNIV BWL WHT |  |  |  | $
408 | CLEAR CAULK |  |  |  | $
409 | CSB5218SFE 18KW/3PH/480V |  |  |  | $
410 | 1H VALVE CARTRIDGE |  |  |  | $
411 | LUMBERS BOX OF PARTS |  |  |  | $
412 | DUO BASKET STRAINER |  |  |  | $
413 | EZH20 RETRO KIT |  |  |  | $
414 | FOUNDATION 1H LAV FAUCET L/POP |  |  |  | $
415 | G90 (LSG-SERIES FLANGED ELBOW) |  |  |  | $
416 | GAPPER REPAIR FLANGE |  |  |  | $
417 | GAS BALL VALVE 1/2FIP X 1/2FIP |  |  |  | $
418 | GAS BALL VALVE 3/4FIP X 3/4FIP |  |  |  | $
419 | GRIND PMP 2HP 230V 20CD 1-1/4 |  |  |  | $
420 | HOSE WASHING MACHINE 4 FT. |  |  |  | $
421 | HYDRA-RESTER 1 MIP ASSE-C |  |  |  | $
422 | INDOOR ALM W/15 FLOAT SWITCH |  |  |  | $
423 | INLINE ICEMAKER GAC FILTER |  |  |  | $
424 | LF 1/2" PRESS BALL VALVE |  |  |  | $
425 | LF 1-1/2" PRESS BALL VALVE |  |  |  | $
426 | LF 1-1/4" PRESS BALL VALVE |  |  |  | $
427 | LF 3/4" PRESS BALL VALVE |  |  |  | $
428 | #K001062 FLOAT SWITCH |  |  |  | $
429 | #K001136 FLOAT SWITCH |  |  |  | $
430 | LOCKING TRADESMAN KNIFE |  |  |  | $
431 | LOWER THERMOSTAT - APCOM STYLE |  |  |  | $
432 | LSG203M - PUMP |  |  |  | $
433 | WH LAV 4 CC WHT |  |  |  | $
434 | 110V FLOATS W/WEIGHTS |  |  |  | $
435 | MIX60A KIT MIXING VALVE |  |  |  | $
436 | MONT WS GN VR WB LAV L/DRN 1.5 |  |  |  | $
437 | NO LD 1 - 5 BARB INS COUP |  |  |  | $
438 | NO LD 1 MALE INS ADPT |  |  |  | $
439 | NO LD 3/4 FEMALE INS ADPT |  |  |  | $
440 | NO LD 3/4 MALE INS ADPT |  |  |  | $
441 | NO LD 3/4-4 BARB INS COUP |  |  |  | $
442 | NO LEAD 1/2 PEX BV - 400WOG |  |  |  | $
443 | NO LEAD 3/4 PEX BV - 400WOG |  |  |  | $
444 | PA TANK 1.6 GPF WHT |  |  |  | $
445 | PEX WATER HEATER CONNECTOR |  |  |  | $
446 | PLAS OPEN FRT ELOG L/COVER |  |  |  | $
447 | PLASTIC AM OPN FRT ELG L/COVER |  |  |  | $
448 | PLASTIC TUBING CUTTER |  |  |  | $
449 | PLIER 10 ANGLE NOSE SJ |  |  |  | $
450 | POLY CLOSET WDGE BLK |  |  |  | $
451 | PT PLUMBING PURPLE PRIMER |  |  |  | $
452 | QT PLUMBING PURPLE PRIMER |  |  |  | $
453 | QWIK CAP 2 |  |  |  | $
454 | REPAIR KIT 1H KNOB/LEVER |  |  |  | $
455 | RINGCRUSHER DECRIMPING TOOL |  |  |  | $
456 | S/C 1/2 OR 3/4 COP X 3/4 HOSE |  |  |  | $
457 | SILVABRITE 100 SOLDER 1/8 |  |  |  | $
458 | SS DEEP CUP DUO BSKT STRAINER |  |  |  | $
459 | STANDARD WAX GASKET |  |  |  | $
460 | STK-99 TORCH(PACKAGE D) |  |  |  | $
461 | TIGHT SPOT TUBING CUTTER KIT |  |  |  | $
462 | TUBING CUTTER 1 TIGHT SPOT |  |  |  | $
463 | TUBING CUTTER 1/2 TIGHT SPOT |  |  |  | $
464 | UPPER THERMOSTAT - APCOM STYLE |  |  |  | $
465 | WAX GASKET W/HORN |  |  |  | $
466 | CLS FRT ELONG W/COVER |  |  |  | $
467 | Z843M1-RC-CS FAUCET |  |  |  | $
468 | POTABLE WATER CABINET | SEMLER SI-2400 |  |  | $
469 | 3/4 I.D. X 360 TUBING | SEMLER PWC-60C-6C |  |  | $
470 | 6" RUBBER BUMPER | SEMLER BUMPER FOR PWC NOZZLE |  |  | $
471 | LEAD FREE COUPLING W/DUST PLUG | SEMLER |  |  | $
472 | HEATER PAD FOR SI-2400 | SEMLER |  |  | $
473 | 115V MOTOR/NO CONDUIT BOX | SEMLER |  |  | $
474 | 1" S.S. SWIVEL JOINT | SEMLER |  |  | $
475 | 1" PRV-LEAD FREE REGULATOR VALVE | SEMLER |  |  | $
476 | 60-C-5-2014 S.S. GAUGE-LF | SEMLER |  |  | $
477 | 1" X 8" SS FLEX CONNECTOR 60C-9 | SEMLER |  |  | $
478 | 1-MNZ--AC-2014 BALL VALVE 3/4" S.S REV | SEMLER |  |  | $
479 | 61-C-10 THERMOSTAT | SEMLER |  |  | $
480 | 1" LEAD FREE RPZ BFP W/ Y STRAINER | SEMLER |  |  | $
481 | TG4321R FUSIBLE DISCONNECT | SEMLER |  |  | $
482 | 2" X 10" CAST IRON EDGE HP | CHARLOTTE PIPE |  |  | $
483 | 3"X 10" CAST IRON EDGE HP | CHARLOTTE PIPE |  |  | $
484 | 4" X 10"CAST IRON EDGE HP | CHARLOTTE PIPE |  |  | $
485 | 6" X 10" CAST IRON EDGE HP | CHARLOTTE PIPE |  |  | $
486 | 2' EDGE HP QUARTER BEND | CHARLOTTE PIPE |  |  | $
487 | 2" EDGE HP QUARTER BEND LONG SWEEP | CHARLOTTE PIPE |  |  | $
488 | 2" EDGE HP SIXTEENTH BEND | CHARLOTTE PIPE |  |  | $
489 | 2" EDGE HP LONG SWEEP | CHARLOTTE PIPE |  |  | $
490 | 2" EDGE HP WYE | CHARLOTTE PIPE |  |  | $
491 | 2' EDGE COMBINATION | CHARLOTTE PIPE |  |  | $
492 | 3" EDGE HP QUARTER BEND | CHARLOTTE PIPE |  |  | $
493 | 3" EDGE HP QUARTER BEND LONG SWEEP | CHAROTTE PIPE |  |  | $
494 | 3" EDGE HP SIXTEENTH BEND | CHARLOTTE PIPE |  |  | $
495 | 3" EDGE HP LONG SWEEP | CHARLOTTE PIPE |  |  | $
496 | 3" EDGE HP WYE | CHARLOTTE PIPE |  |  | $
497 | 3" COMBINATION | CHARLOTTE PIPE |  |  | $
498 | 4" EDGE HP QUARTER BEND | CHARLOTTE PIPE |  |  | $
499 | 4" EDGE HP QUARTER BEND LONG | CHARLOTTE PIPE |  |  | $
500 | 4" EDGE HP SIXTEENTH BEND | CHARLOTTE PIPE |  |  | $
501 | 4" EDGE HP LONG SWEEP | CHARLOTTE PIPE |  |  | $
502 | 4" EDGE HP WYE | CHARLOTTE PIPE |  |  | $
503 | 4" EDGE HP COMBINATION | CHARLOTTE PIPE |  |  | $
|  |  |  | Total | 0